## Sheet1
Equipment / Asset | Residential | Commercial | Industrial | RC (Thermal) | Kirchhoff (Electrical) | COP Eqns | NTU–ε (HX) | LP / Rules | Monte Carlo | Markov | ARIMA / Prob TS | Ensembles | Sup. ML | DL | Surrogate | Federated / TL | Q-Tab | DQN | Actor-Critic | Multi-Agent RL
Temperature sensors (room/flow/return) | X | X | X | RC thermal coupling; zone energy balance |  |  |  | Comfort bands; deadband & hysteresis checks | Sensor failure/drift scenarios | Occupancy→temp transitions | Seasonal drift ARIMA/SARIMA | Weather ensemble propagation | Regression-based calibration | LSTM drift correction/denoising | NN surrogate for calibration curve | Cross-building calibration (FedAvg) | Setpoint discretization policy | End-to-end setpoint tuning | Comfort–energy trade-off policy | Multi-zone coordination
Relative humidity sensors | X | X | X | Psychrometric RC; moist air model |  |  |  | Comfort bands; deadband & hysteresis checks | Sensor failure/drift scenarios | Occupancy→temp transitions | Seasonal drift ARIMA/SARIMA | Weather ensemble propagation | Regression-based calibration | LSTM humidity/temperature co-modelling | NN surrogate for calibration curve | Cross-building calibration (FedAvg) | Setpoint discretization policy | End-to-end setpoint tuning | Comfort–energy trade-off policy | Multi-zone coordination
CO₂ sensors | X | X | – | Mass-balance IAQ model |  |  |  | Ventilation rules; ASHRAE limits | Sensor outage/events MC | Occupancy state transitions | CO₂/RH probabilistic forecast | IAQ/weather ensembles | Occupancy/IAQ regression/classification | LSTM/AE for IAQ patterns/anomalies | NN surrogate of IAQ response | Federated IAQ models across sites | Discrete ventilation steps | Airflow damper fan control | IAQ-energy balancing | Building-level IAQ coordination
VOC / PM sensors | (opt.) | X | X | Mass-balance IAQ model |  |  |  | Ventilation rules; ASHRAE limits | Sensor outage/events MC | Occupancy state transitions | CO₂/RH probabilistic forecast | IAQ/weather ensembles | Classification (air quality events) | CNN/LSTM anomaly detection (PM spikes) | NN surrogate of IAQ response | Federated IAQ models across sites | Discrete ventilation steps | Airflow damper fan control | IAQ-energy balancing | Building-level IAQ coordination
Window/Door open-closed sensors | X | X | – | Infiltration RC; UA + leakage |  |  |  | Ventilation rules; ASHRAE limits | Sensor outage/events MC | Occupancy state transitions | CO₂/RH probabilistic forecast | IAQ/weather ensembles | Classifier for user actions | Sequence modeller for open/close | NN surrogate of IAQ response | Federated IAQ models across sites | Discrete ventilation steps | Airflow damper fan control | IAQ-energy balancing | Building-level IAQ coordination
Radiator/UFH flow sensors | X | X | – | Hydronic RC; pipe/tank nodes |  |  | HX effectiveness from ΔT, UA | Flow balance & valve logic | Sensor failure; leak scenarios | Flow state transitions | Flow/ΔT time-series | Weather-driven load ensembles | Flow/ΔT regression | LSTM for hydronic dynamics | NN surrogate for HX/hydronic | Fleet hydronic model sharing | Valve set/discrete flow levels | Continuous valve positioning | Comfort vs pump energy | Loop/network coordination
Whole-house smart meter | X | – | – |  | Whole-building power balance |  |  | Tariff-aware alerts; baseload rules | Load uncertainty MC | Appliance state transitions (latent) | Demand TS with intervals | Tariff/weather ensembles | Baseline regression | Seq2seq demand forecast | Proxy for missing sub-meters | Federated baseline models | Discrete DR actions | Real-time load shaping | Cost–comfort tradeoffs | Community DR coordination
Electrical submeters | X | X | X |  | Power flow (P,Q,V,I); network constraints |  |  | Protection rules; thresholds | Disturbance & outage MC | Feeder/transformer states | Load/PQ forecasting | Market/weather ensembles | Load/PQ regression | LSTM for feeder/PQ | End-use load surrogate maps | Cross-site load/PQ models | Tap/threshold discrete control | Adaptive curtailment/PQ control | Stability vs losses trade-off | Feeder/DER coordination
Heat meters (heating/cooling loops) | (opt.) | X | X | Hydronic RC; pipe/tank nodes |  |  | HX effectiveness from ΔT, UA | Flow balance & valve logic | Sensor failure; leak scenarios | Flow state transitions | Flow/ΔT time-series | Weather-driven load ensembles | Heat demand regression by zone | LSTM for hydronic dynamics | NN surrogate for HX/hydronic | Fleet hydronic model sharing | Valve set/discrete flow levels | Continuous valve positioning | Comfort vs pump energy | Loop/network coordination
PV inverter | X | X | X |  | PV power flow; inverter limits |  |  | Curtailment & ramp limits; Volt/VAR | Cloud/soiling MC | Sun-state/operating modes | PV output TS forecast | Numerical weather ensembles | GBM/RF irradiance→power | CNN/LSTM sky-to-PV | NN inverter map (P,Q,V) | Federated PV across roofs | Step curtail policy | Real-time curtailment | Revenue vs grid constraints | PV-battery-load coordination
Battery storage | X | X | X |  | Power balance; constraints |  |  | SoC/ramp/DoD rules | Cycle-life/SoH degradation MC | SoC transition model | SoC/power TS forecast | Price/weather ensembles | SoH/SoC regressors | LSTM dispatch prediction | NN fast electrochem proxy | Cross-site battery learn. | Discrete charge/discharge | Continuous dispatch RL | Cost–flexibility–life | Fleet storage coordination
EV charger (smart/V2G) | X | X | – |  | Charger/grid constraints |  |  | TOU smart charge/V2G rules | Arrival/SoC MC | Arrival/departure states | Usage/time TS | Tariff ensembles | Arrival & demand regressors | LSTM availability | NN charger-grid map | Cross-site EV learning | Discrete charge steps | SOC-targeted charging | User comfort vs cost | Lot/community coordination
Heat pump (ASHP/GSHP) | X | X | – | RC building-HVAC coupling |  | COP=f(Tout, Tin, lift) |  | Setpoint & staging rules | Ambient/load uncertainty | Mode transitions/defrost | Thermal load TS | Weather ensembles | COP/load regression | LSTM HVAC load | NN HVAC surrogate | Federated HVAC models | On/off policy | Setpoint modulation | Comfort vs cost | Multi-zone/multi-HP coord
PCM storage (small-scale) | X | – | – | Latent heat RC (charge/hold) |  |  | PCM HX effectiveness | Charge/discharge windows | Demand/weather MC | Phase state transitions | Thermal demand TS | Weather ensembles | Charging regression | LSTM PCM dynamics | NN PCM dynamics | Cross-site PCM learn. | Discrete charge levels | Continuous charging | Tariff/carbon aware | Fleet thermal storage
Buffer tanks / thermal storage | X | X | X | Sensible storage RC; stratified tank |  |  | Tank coil HX effectiveness | Charge/discharge windows | Demand/weather MC | Phase state transitions | Thermal demand TS | Weather ensembles | Charging regression | LSTM PCM dynamics | NN PCM dynamics | Cross-site PCM learn. | Discrete charge levels | Continuous charging | Tariff/carbon aware | Fleet thermal storage
ERV / HRV | X | X | – | Air exchange RC |  |  | Wheel/core eff. | Bypass rules | Weather/usage MC | Bypass/state modes | Ventilation TS | Weather ensembles | Ventilation regression | LSTM ventilation | NN ERV | Cross-site ERV | Step ventilation | Continuous airflow | IAQ vs energy | Multi-ERV control
Mixing/3-way valves | X | X | X | Hydronic RC branch mixing |  |  |  | Mixing logic; reset schedules | Valve failure MC | Valve state transitions |  |  | Valve position estimator | LSTM valve-flow | NN valve-flow map |  | Discrete positions | Continuous positioning | Comfort vs pump energy | Network valve coordination
Shading/blinds actuators | X | X | – | Solar gains in RC |  |  |  | Sun-angle/irradiance rules | Cloud/solar MC | Shade state transitions |  |  | Glare/irradiance classifier | CNN sky images→shade | NN solar gain map |  | Discrete shade steps | Continuous shading | Glare vs cooling | Facade zone coordination
ATS/STS crossover switches | (community) | X | X |  | Node/branch power flow |  |  | ATS/STS transfer logic; safety interlocks | Fault/outage MC | Operating states | Load/voltage TS | Market/weather ensembles | Load/PQ regression | LSTM for grid time-series | NN power-flow map | Cross-feeder learning | Discrete transfer decisions | Adaptive control | Stability-cost tradeoff | Grid-asset coordination
Dynamic tariff / grid signals | X | X | X |  |  |  |  | Tariff-to-cost mapping; TOU rules | Price uncertainty MC |  | Tariff TS forecast | Market ensembles | Price regression | Seq models for price | Proxy cost curves | Cross-market transfer | Discrete DR setpoints | Real-time DR | Revenue vs comfort | Community DR market
Carbon intensity signals | X | X | X |  |  |  |  | Carbon-aware setpoints | Grid mix uncertainty |  | CI time-series | Marginal mix ensembles | CI regression | Seq models for CI | CI proxy curves | Cross-region transfer | Carbon-aware actions | Continuous carbon-aware ctrl | Cost–carbon tradeoff | Community carbon minim.
Weather nowcast & ensemble forecasts | X | X | X |  |  |  |  | Forecast usage rules | Weather MC |  | Probabilistic nowcast | NWP ensembles | Nowcast regression | CNN/LSTM weather | Fast forecast proxy | Cross-site weather models | Forecast selection | Model selection RL | Forecast-weight tuning | Regional forecast fusion
Occupant preferences / override app | X | X | – |  |  |  |  | Preference → constraint rules | Preference variability MC | Preference state transitions | Preference TS |  | Clustering; preference inference | Recommender nets | Utility proxy models | Privacy-preserving learning | Discrete comfort policy | Personalized setpoints | Comfort–cost reward | Multi-tenant coordination